Echo Shapes and Reflections LED 9.0

Using Single 0-degree ies file as base file to config/convert top & bottom or sided by side configurations for Echo Shapes

Step by step procedure

- Pull in IES single 0° tilt file from SPI website [Echo Shapes 9.0 LED-shapes-single_-0-tilt.ies]

  - Label:  SHAPES SINGLE 0 DEGREE

  - Description: L63W (1M)

  - LLF: .9

    - See Below Table

  - Click into Symbols:  Choose Box Up & [Symbol Scaling:  X = 0.23,  Y = 0.857,  Z = 0.522]

    - See table below

- Locate the L63W (1M) in plan anywhere outside the building or room.

- Next step is to array the module to desired LED configuration – See below

EEW12090-L63W

EEW12092-L127W

EEW12093-L254W

EEW12091-L127W

Refer to AGi file to import

- Skip to Aiming Individual Units

- For Over-under, array luminaire X direction spacing equals .3540 ft [4.25” true offset]

- For Side-by-side, array luminaire Y direction spacing equals .9583 ft [11.5” true offset]

- For Quad, apply both steps above to array luminaire

- Create fixture group to assign catalog ID  [In the Model Toolkit/Luminaire section, click “Create luminaire Group”]

- Select the luminaire (Window box around the symbols]

- Click desired insertion point

- Assign Catalog ID [Ex. EEW12093] & Description as shown below

AIMING INDIVIDUAL UNITS

- Click Add/Redefine tab to create the group luminaire.

Note:  In above “Define Luminaire” section, to change tilt, highlight over the (-35) and change to the degree desired.

  - Note: Option for tilting are as follows:

    - Negative tilt = positive aiming

    - Positive tilt = negative aiming

      - See example below

Positive Tilt                               Negative Tilt